## sofc_component_breakdown
component | cost_usd_per_kw | uncertainty_pct | learning_curve_pct | local_content_pct
SOFC Stack | 3200 | 20 | 15 | 5
Fuel Processing Unit | 1200 | 15 | 10 | 20
Power Conditioning System | 800 | 10 | 8 | 30
Heat Recovery System | 600 | 12 | 5 | 40
Control & Monitoring | 300 | 8 | 3 | 60
Balance of Plant | 500 | 15 | 8 | 50
Installation & Commissioning | 400 | 20 | 5 | 80
Engineering & Design | 200 | 25 | 2 | 70
Project Management | 150 | 30 | 2 | 90
Contingency | 300 | 50 | 0 | 0
Transportation | 100 | 25 | 3 | 30
Insurance | 80 | 20 | 0 | 100
Permits & Licenses | 70 | 40 | 0 | 100

## operational_cost_breakdown
cost_category | annual_cost_usd_per_kw | frequency | uncertainty_pct
Stack Replacement | 45 | Every 7 years | 25
Preventive Maintenance | 25 | Monthly | 20
Corrective Maintenance | 15 | As needed | 30
Fuel Processing Maintenance | 12 | Quarterly | 15
Power Conditioning Maintenance | 8 | Semi-annually | 10
Heat Recovery Maintenance | 10 | Quarterly | 12
Control System Maintenance | 5 | Semi-annually | 8
Labor Costs | 20 | Monthly | 15
Utilities (Water, Air) | 8 | Continuous | 20
Insurance | 6 | Annually | 10
Permits & Compliance | 3 | Annually | 25
Spare Parts Inventory | 10 | As needed | 20
Technical Support | 5 | Quarterly | 15
Training | 2 | Annually | 30
Environmental Monitoring | 3 | Continuous | 20

## financing_scenarios
scenario | debt_percentage | equity_percentage | grant_percentage | debt_interest_rate_pct | equity_return_rate_pct | loan_tenor_years | grace_period_years | collateral_required | currency_risk | political_risk
Government Grant (50%) | 0 | 50 | 50 | 0 | 0 | 0 | 0 | None | None | Low
Development Bank Loan | 70 | 30 | 0 | 8 | 15 | 15 | 2 | Project Assets | Medium | Medium
Commercial Bank Loan | 80 | 20 | 0 | 12 | 18 | 10 | 1 | Project + Personal | High | High
Equipment Lease | 100 | 0 | 0 | 15 | 0 | 7 | 0 | Equipment | High | High
Power Purchase Agreement | 0 | 100 | 0 | 0 | 20 | 0 | 0 | None | None | Low
Build-Operate-Transfer | 60 | 40 | 0 | 10 | 16 | 20 | 3 | Project Assets | Medium | Medium
Public-Private Partnership | 50 | 50 | 0 | 9 | 15 | 15 | 2 | Project Assets | Low | Low
Carbon Credit Financing | 0 | 100 | 0 | 0 | 25 | 0 | 0 | None | None | Low
Export Credit Agency | 75 | 25 | 0 | 6 | 12 | 12 | 2 | Project Assets | Low | Low
Multilateral Development Bank | 80 | 20 | 0 | 4 | 10 | 20 | 3 | Project Assets | Low | Low

## risk_analysis
risk_category | probability_pct | impact_severity | mitigation_cost_usd_per_kw | mitigation_effectiveness_pct | insurance_available | insurance_cost_usd_per_kw
Technology Risk | 15 | High | 200 | 70 | No | 0
Market Risk | 20 | Medium | 100 | 80 | Yes | 20
Financial Risk | 25 | High | 150 | 85 | Yes | 30
Regulatory Risk | 30 | Medium | 80 | 90 | No | 0
Operational Risk | 10 | Low | 50 | 95 | Yes | 10
Environmental Risk | 5 | Medium | 120 | 75 | Yes | 15
Political Risk | 20 | High | 180 | 60 | Yes | 25
Currency Risk | 40 | High | 100 | 70 | Yes | 20
Fuel Price Risk | 35 | High | 200 | 65 | Yes | 35
Grid Integration Risk | 15 | Medium | 90 | 85 | No | 0

## sensitivity_parameters
parameter | base_value | low_value | high_value | unit | sensitivity_rank
SOFC CAPEX | 6500 | 5200 | 7800 | USD/kW | 1
SOFC OPEX | 145 | 116 | 174 | USD/kW/year | 2
Stack Lifetime | 7 | 5 | 10 | years | 3
System Efficiency | 62 | 55 | 70 | % | 4
Availability Factor | 95 | 90 | 98 | % | 5
Gas Price | 0.008 | 0.005 | 0.012 | USD/MJ | 6
Electricity Price | 0.12 | 0.08 | 0.18 | USD/kWh | 7
Interest Rate | 18.25 | 12 | 25 | % | 8
Exchange Rate | 1500 | 1200 | 1800 | NGN/USD | 9
Inflation Rate | 21.47 | 15 | 30 | % | 10
Project Lifetime | 20 | 15 | 25 | years | 11
Discount Rate | 12 | 8 | 18 | % | 12
Tax Rate | 30 | 20 | 40 | % | 13
Carbon Price | 50 | 20 | 100 | USD/tCO2 | 14
Grid Reliability | 65 | 50 | 85 | % | 15